## Slide 1: GPC – Gel Permeation Chromatography
CLARITY EXTENSION

## Slide 2: GPC Extension
Extension for SEC/GPC data evaluation
GPC and normal mode
Multiple GPC calibration types
Flow Rate Correction
Specific GPC Results
Graphs of MW Distribution and Cumulative MW Distribution
GPC Slice Table and Ranges
Overview
GPC Extension / Overview
https://www.dataapex.com/product/extensions-gpc

## Slide 3: System Configuration
GPC Extension / System Configuration
GPC Instrument is configured in the System Configuration window
GPC can be enabled on a station where p/n A28 is purchased

## Slide 4: GPC Mode
GPC Mode or Standard Mode can be selected in the Setting menu on the GPC Instrument
Type of mode is then indicated by GPC inscription in the header of each window
GPC Extension / GPC Mode

## Slide 5: Method Setup
GPC related tabs in the method
Chromatograms can be evaluated in GPC or standard mode
GPC Extension / Method Setup

## Slide 6: GPC Calibration
Molecular weight as a function of elution volume
Narrow standards
Flow rate correction
Universal calibration
Broad calibration
Multiple linear (Hamielec) fit
Multiple integral standard
Broad on narrow
Options
GPC Extension / GPC Calibration / Options

## Slide 7: GPC Calibration
Narrow Standard
GPC Extension / GPC Calibration / Narrow Standard

## Slide 8: GPC Calibration
Universal Calibration option used along with Mark-Houwink parameters
GPC Extension / GPC Calibration / Universal Calibration
Universal Calibration

## Slide 9: GPC Calibration
GPC Extension / GPC Calibration / Broad Standard
Broad Standard

## Slide 10: GPC Calibration
GPC Extension / GPC Calibration / Broad on Narrow
Broad On Narrow

## Slide 11: GPC Calibration
GPC Extension / GPC Calibration / Simplified Calculations
SIMLIFIED CALCULATIONS
Standard Calculations
Averaging is per fixed MW interval
Used in PL Cirrus
Simplified Calculations
Averaging is per fixed time (volume) interval
Used in EzChrom
Equations listed in manual/help

## Slide 12: Flow Rate Correction
Chromatogram
GPC Extension / Flow Rate Correction / Chromatogram
Menu Chromatogram – Peak – Flow Marker Peak
GPC Calibration must be set to Use Flow Rate Correction

## Slide 13: Flow Rate Correction
Flow Rate Correction is applied in the first chromatogram report
Report Setup
GPC Extension / Flow Rate Correction / Report Setup

## Slide 14: Chromatogram
GPC Extension / Chromatogram / GPC Results
GPC results
Hide/Show GPC-related columns in the Result Table

## Slide 15: Chromatogram
GPC Extension / Chromatogram / GPC Summary
GPC summary
Hide/Show GPC-related columns in the Summary Table

## Slide 16: Chromatogram
GPC Extension / Chromatogram / GPC Slice Table
GPC SLIce table
GPC Slice Table shows cumulative molecular weight distribution

## Slide 17: Chromatogram
GPC Extension / Chromatogram / MW Distribution, Cumulative MW Distribution
MW DISTRIBUTION, CUMULATIVE MW DISTRIBUTION
MW distribution shows molecular weight distribution of active peaks
Cumulative MW distribution shows cumulative molecular weight distribution in %

## Slide 18: Chromatogram
GPC Extension / Chromatogram / GPC Ranges
GPC ranges
Percentages for selected MW ranges
MW averages for selected percentage ranges

## Slide 19: Thank you for your attention