## Slide 1: SST – SYSTEM SUITABILITY TEST
CLARITY EXTENSION

## Slide 2: System suitability test
Statistical evaluation of selected values (Average, RSD)
Comparison to pre-set criteria (Pass/Fail testing)
Actions based on Pass/Fail results
Accessible from the menu in the Chromatogram window
For identified compounds only (based on calibration)
SST is enabled by User Code with p/n A22 purchased
Overview
SST Extension / Overview
https://www.dataapex.com/product/extensions-sst

## Slide 3: Chromatogram window
SST Extension / Chromatogram window
Dedicated SST menu
SST Results tab for the sole purpose of the SST calculations

## Slide 4: SST properties
SST Extension / SST Properties
SST properties allow further set additional parameters and conditions for evaluation

## Slide 5: SST Events
SST Extension / SST Events
Specify event reactions when SST is Passed/Not Run/Failed
Possible to determine actions also in Method Event Table
Wide range of possibilities with the Run external program option

## Slide 6: SST Results
SST Extension / SST Results
Select which component (compound from the calibration) is to be checked
Define the limits of the values and/or the maximum tolerable RSD (%)

## Slide 7: SST Report Setup
SST Extension / SST Report Setup
Option what to print on dedicated SST tab

## Slide 8: Include in SSt
SST Extension / Include in SST
Option in Single Analysis and Sequence

## Slide 9: Include in SSt
SST Extension / Include in SST
Option can be changed later
  in SST tab one-by-one
  In Batch dialog for multiple chromatograms

## Slide 10: Thank you for your attention